# Leakage Test Setup Measurement

I made the setup measurement for the Leakage test. Measured with 20Vrms 60Hz input signal.

Results of the measurement :

V1 = 20,91Vrms

I1 = 10.74 mA rms

V3 = 5,325Vrms

# Referenced resources: